## Power Cost Est
Power Company Relocation Costs
Reimbursable Costs
| Enter Power Company 1 Name or "NA" |  |  |  | Enter Power Company 2 Name or "NA" |  |  |  | Enter Power Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Poles - Distribution | EA |  | 40000 | 0 | EA |  | 40000 | 0 | EA |  | 40000 | 0
Furnish & Install Poles - Transmission | EA |  | 100000 | 0 | EA |  | 100000 | 0 | EA |  | 100000 | 0
Furnish & Install Cable | LF |  | 20 | 0 | LF |  | 20 | 0 | LF |  | 20 | 0
Furnish & Install Conduit - Open Cut | LF |  | 15 | 0 | LF |  | 15 | 0 | LF |  | 15 | 0
Furnish & Install Conduit - Drilled | LF |  | 30 | 0 | LF |  | 30 | 0 | LF |  | 30 | 0
Furnish & Install Manholes | EA |  | 8000 | 0 | EA |  | 8000 | 0 | EA |  | 8000 | 0
Furnish & Install or Adjust Guy/Anchor | EA |  | 3500 | 0 | EA |  | 3500 | 0 | EA |  | 3500 | 0
Vertical Manhole Adjustment | EA |  | 3000 | 0 | EA |  | 3000 | 0 | EA |  | 3000 | 0
Holding Pole | DAY |  | 2000 | 0 | DAY |  | 2000 | 0 | DAY |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Non-Reimbursable Costs
| Enter Power Company 1 Name or "NA" |  |  |  | Enter Power Company 2 Name or "NA" |  |  |  | Enter Power Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Poles - Distribution | EA |  | 40000 | 0 | EA |  | 40000 | 0 | EA |  | 40000 | 0
Furnish & Install Poles - Transmission | EA |  | 100000 | 0 | EA |  | 100000 | 0 | EA |  | 100000 | 0
Furnish & Install Cable | LF |  | 20 | 0 | LF |  | 20 | 0 | LF |  | 20 | 0
Furnish & Install Conduit - Open Cut | LF |  | 15 | 0 | LF |  | 15 | 0 | LF |  | 15 | 0
Furnish & Install Conduit - Drilled | LF |  | 30 | 0 | LF |  | 30 | 0 | LF |  | 30 | 0
Furnish & Install Manholes | EA |  | 8000 | 0 | EA |  | 8000 | 0 | EA |  | 8000 | 0
Furnish & Install or Adjust Guy/Anchor | EA |  | 3500 | 0 | EA |  | 3500 | 0 | EA |  | 3500 | 0
Vertical Manhole Adjustment | EA |  | 3000 | 0 | EA |  | 3000 | 0 | EA |  | 3000 | 0
Holding Pole | DAY |  | 2000 | 0 | DAY |  | 2000 | 0 | DAY |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Note on A6: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the power relocations.
Note on A7: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the power relocations.
Note on A8: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A9: Distribution lines carry power from local substations to customers. These lines are lower voltage than transmission lines.
Note on A10: Transmission lines are used to carry high voltage between power stations. They are often comprised of large wood or metal poles. Sometimes, the metal poles are anchored into the ground with a concrete foundation. Transmission poles are typically 65 ft and taller.
Note on A11: This is the cable that is used to carry the power. For estimating purposes, no distinction is made between distribution or transmission cable.
Note on A12: Power cable that is installed underground may be placed inside of a conduit for protection. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A13: Power cable that is drilled underground may be placed inside of a conduit for protection. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A14: Utility manholes are installed to provide access to an underground utility and to satisfy cable routing needs. Different utilities have different manhole spacing requirements. For purposes of this estimate, the distance between manholes should be assumed to be 400 ft.
Note on A15: Guy wire anchors are used to resist tension forces found in overhead lines. Guy wire placement is dictated by engineering calculations and site-specific conditions. For purposes of this estimate, guy wire anchors should be placed at alignment changes in overhead utilities.
Note on A16: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.
Note on A17: Excavation which could compromise the stability of a utility pole will require that the utility pole be held in-place during the work. This is commonly performed when drainage or other similar type of excavation work is required within 3 ft of the existing pole.
Note on A23: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the power relocations.
Note on A24: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the power relocations.
Note on A25: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A26: Distribution lines carry power from local substations to customers. These lines are lower voltage than transmission lines.
Note on A27: Transmission lines are used to carry high voltage between power stations. They are often comprised of large wood or metal poles. Sometimes, the metal poles are anchored into the ground with a concrete foundation. Transmission poles are typically 65 ft and taller.
Note on A28: This is the cable that is used to carry the power. For estimating purposes, no distinction is made between distribution or transmission cable.
Note on A29: Power cable that is installed underground may be placed inside of a conduit for protection. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A30: Power cable that is drilled underground may be placed inside of a conduit for protection. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A31: Utility manholes are installed to provide access to an underground utility and to satisfy cable routing needs. Different utilities have different manhole spacing requirements. For purposes of this estimate, the distance between manholes should be assumed to be 400 ft.
Note on A32: Guy wire anchors are used to resist tension forces found in overhead lines. Guy wire placement is dictated by engineering calculations and site-specific conditions. For purposes of this estimate, guy wire anchors should be placed at alignment changes in overhead utilities.
Note on A33: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.
Note on A34: Excavation which could compromise the stability of a utility pole will require that the utility pole be held in-place during the work. This is commonly performed when drainage or other similar type of excavation work is required within 3 ft of the existing pole.

## Comms Cost Est
Communication Company Relocation Costs
Reimbursable Costs
| Enter Communication Company 1 Name or "NA" |  |  |  | Enter Communication Company 2 Name or "NA" |  |  |  | Enter Communication Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Poles | EA |  | 25000 | 0 | EA |  | 25000 | 0 | EA |  | 25000 | 0
Furnish & Install Copper Cable | LF |  | 20 | 0 | LF |  | 20 | 0 | LF |  | 20 | 0
Furnish & Install Fiber Cable | LF |  | 15 | 0 | LF |  | 15 | 0 | LF |  | 15 | 0
Furnish & Install Conduit - Open Cut | LF |  | 12 | 0 | LF |  | 12 | 0 | LF |  | 12 | 0
Furnish & Install Conduit - Drilled | LF |  | 30 | 0 | LF |  | 30 | 0 | LF |  | 30 | 0
Facilities, Manholes | EA |  | 3000 | 0 | EA |  | 3000 | 0 | EA |  | 3000 | 0
Furnish & Install or Adjust Guy/Anchor | EA |  | 3500 | 0 | EA |  | 3500 | 0 | EA |  | 3500 | 0
Vertical Manhole Adjustment | EA |  | 2000 | 0 | EA |  | 2000 | 0 | EA |  | 2000 | 0
Holding Pole | DAY |  | 2000 | 0 | DAY |  | 2000 | 0 | DAY |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Non-Reimbursable Costs
| Enter Communication Company 1 Name or "NA" |  |  |  | Enter Communication Company 2 Name or "NA" |  |  |  | Enter Communication Company 3 Name or "NA" |  |  |  | Originator Notes (These Notes Do Not Print)
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Poles | EA |  | 25000 | 0 | EA |  | 25000 | 0 | EA |  | 25000 | 0
Furnish & Install Copper Cable | LF |  | 20 | 0 | LF |  | 20 | 0 | LF |  | 20 | 0
Furnish & Install Fiber Cable | LF |  | 15 | 0 | LF |  | 15 | 0 | LF |  | 15 | 0
Furnish & Install Conduit - Open Cut | LF |  | 12 | 0 | LF |  | 12 | 0 | LF |  | 12 | 0
Furnish & Install Conduit - Drilled | LF |  | 30 | 0 | LF |  | 30 | 0 | LF |  | 30 | 0
Facilities, Manholes | EA |  | 3000 | 0 | EA |  | 3000 | 0 | EA |  | 3000 | 0
Furnish & Install or Adjust Guy/Anchor | EA |  | 3500 | 0 | EA |  | 3500 | 0 | EA |  | 3500 | 0
Vertical Manhole Adjustment | EA |  | 2000 | 0 | EA |  | 2000 | 0 | EA |  | 2000 | 0
Holding Pole | DAY |  | 2000 | 0 | DAY |  | 2000 | 0 | DAY |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Note on A6: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the communication relocations.
Note on A7: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the communication relocations.
Note on A8: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A10: Copper cable is typically used as a service line to residential properties.
Note on A11: Fiber optic cable is typically used as a transmission line material.
Note on A12: Communication cable that is installed underground may be placed inside of a conduit for protection. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A13: Communication cable that is drilled underground may be placed inside of a conduit for protection. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A14: Utility manholes are installed to provide access to an underground utility and to satisfy cable routing needs. Different utilities have different manhole spacing requirements. For purposes of this estimate, the distance between manholes should be assumed to be 400 ft.
Note on A15: Guy wire anchors are used to resist tension forces found in overhead lines. Guy wire placement is dictated by engineering calculations and site-specific conditions. For purposes of this estimate, guy wire anchors should be placed at alignment changes in overhead utilities.
Note on A16: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.
Note on A17: Excavation which could compromise the stability of a utility pole will require that the utility pole be held in-place during the work. This is commonly performed when drainage or other similar type of excavation work is required within 3 ft of the existing pole.
Note on A23: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the communication relocations.
Note on A24: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the communication relocations.
Note on A25: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A27: Copper cable is typically used as a service line to residential properties.
Note on A28: Fiber optic cable is typically used as a transmission line material.
Note on A29: Communication cable that is installed underground may be placed inside of a conduit for protection. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A30: Communication cable that is drilled underground may be placed inside of a conduit for protection. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A31: Utility manholes are installed to provide access to an underground utility and to satisfy cable routing needs. Different utilities have different manhole spacing requirements. For purposes of this estimate, the distance between manholes should be assumed to be 400 ft.
Note on A32: Guy wire anchors are used to resist tension forces found in overhead lines. Guy wire placement is dictated by engineering calculations and site-specific conditions. For purposes of this estimate, guy wire anchors should be placed at alignment changes in overhead utilities.
Note on A33: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.
Note on A34: Excavation which could compromise the stability of a utility pole will require that the utility pole be held in-place during the work. This is commonly performed when drainage or other similar type of excavation work is required within 3 ft of the existing pole.

## Water Cost Est
Water Company Relocation Costs
Reimbursable Costs
| Enter Water Company 1 Name or "NA" |  |  |  | Enter Water Company 2 Name or "NA" |  |  |  | Enter Water Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Water Valve | EA |  | 6000 | 0 | EA |  | 6000 | 0 | EA |  | 6000 | 0
Furnish & Install PVC Water Main - Open Cut | LF |  | 160 | 0 | LF |  | 160 | 0 | LF |  | 160 | 0
Furnish & Install PVC Water Main - Drilled | LF |  | 256 | 0 | LF |  | 256 | 0 | LF |  | 256 | 0
Furnish & Install Ductile Iron Pipe - Open Cut | LF |  | 180 | 0 | LF |  | 180 | 0 | LF |  | 180 | 0
Furnish & Install Ductile Iron Pipe - Drilled | LF |  | 256 | 0 | LF |  | 256 | 0 | LF |  | 256 | 0
Furnish & Install Steel Casing - Open Cut | LF |  | 265 | 0 | LF |  | 265 | 0 | LF |  | 265 | 0
Furnish & Install Steel Casing - Drilled | LF |  | 525 | 0 | LF |  | 525 | 0 | LF |  | 525 | 0
Furnish & Install FPVC Casing - Drilled | LF |  | 690 | 0 | LF |  | 690 | 0 | LF |  | 690 | 0
Furnish & Install Fire Hydrants w/ Appertanances | EA |  | 11000 | 0 | EA |  | 11000 | 0 | EA |  | 11000 | 0
Furnish & Install or Relo Services & Meter Pits | EA |  | 3000 | 0 | EA |  | 3000 | 0 | EA |  | 3000 | 0
Furnish & Install Bends or Elbows | EA |  | 1200 | 0 | EA |  | 1200 | 0 | EA |  | 1200 | 0
Furnish & Install 2" Temporary Blow-off Assembly | EA |  | 4000 | 0 | EA |  | 4000 | 0 | EA |  | 4000 | 0
Furnish & Install Tie-In to Existing Water Main | EA |  | 7000 | 0 | EA |  | 7000 | 0 | EA |  | 7000 | 0
Cap & Retire in Place Existing Main | EA |  | 1800 | 0 | EA |  | 1800 | 0 | EA |  | 1800 | 0
Vertical Valve Adjustments | EA |  | 1000 | 0 | EA |  | 1000 | 0 | EA |  | 1000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Non-Reimbursable Costs
| Enter Water Company 1 Name or "NA" |  |  |  | Enter Water Company 2 Name or "NA" |  |  |  | Enter Water Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Water Valve | EA |  | 6000 | 0 | EA |  | 6000 | 0 | EA |  | 6000 | 0
Furnish & Install PVC Water Main - Open Cut | LF |  | 160 | 0 | LF |  | 160 | 0 | LF |  | 160 | 0
Furnish & Install PVC Water Main - Drilled | LF |  | 256 | 0 | LF |  | 256 | 0 | LF |  | 256 | 0
Furnish & Install Ductile Iron Pipe - Open Cut | LF |  | 180 | 0 | LF |  | 180 | 0 | LF |  | 180 | 0
Furnish & Install Ductile Iron Pipe - Drilled | LF |  | 256 | 0 | LF |  | 256 | 0 | LF |  | 256 | 0
Furnish & Install Steel Casing - Open Cut | LF |  | 265 | 0 | LF |  | 265 | 0 | LF |  | 265 | 0
Furnish & Install Steel Casing - Drilled | LF |  | 525 | 0 | LF |  | 525 | 0 | LF |  | 525 | 0
Furnish & Install FPVC Casing - Drilled | LF |  | 690 | 0 | LF |  | 690 | 0 | LF |  | 690 | 0
Furnish & Install Fire Hydrants w/ Appertanances | EA |  | 11000 | 0 | EA |  | 11000 | 0 | EA |  | 11000 | 0
Furnish & Install or Relo Services & Meter Pits | EA |  | 3000 | 0 | EA |  | 3000 | 0 | EA |  | 3000 | 0
Furnish & Install Bends or Elbows | EA |  | 1200 | 0 | EA |  | 1200 | 0 | EA |  | 1200 | 0
Furnish & Install 2" Temporary Blow-off Assembly | EA |  | 4000 | 0 | EA |  | 4000 | 0 | EA |  | 4000 | 0
Furnish & Install Tie-In to Existing Water Main | EA |  | 7000 | 0 | EA |  | 7000 | 0 | EA |  | 7000 | 0
Cap & Retire in Place Existing Main | EA |  | 1800 | 0 | EA |  | 1800 | 0 | EA |  | 1800 | 0
Vertical Valve Adjustments | EA |  | 1000 | 0 | EA |  | 1000 | 0 | EA |  | 1000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Note on A6: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the water relocations.
Note on A7: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the water relocations.
Note on A8: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A9: Water valves are typically placed at junctions in water mains and along the main at a spacing in accordance with regulatory requirements. Water valves enable flow to be shut off or diverted so as to allow for future maintenance work. For purposes of this estimate, the distance between water valves should be assumed to be 800 ft.
Note on A10: Water lines are typically installed new as either ductile iron or PVC. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A11: Water lines are typically installed new as either ductile iron or PVC. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A12: Water lines are typically installed new as either ductile iron or PVC. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A13: Water lines are typically installed new as either ductile iron or PVC. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A14: Steel casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a steel casing should be prescribed on applications which cross roadways or railways. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A15: Steel casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a steel casing should be placed on applications which cross roadways or railways. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A16: Fusible PVC (FPVC) casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a FPVC casing should be placed on applications which cross roadways or railways. FPVC casings are installed by directional drilling. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A17: Fire hydrant placement is typically controlled by municipal and building codes. For estimate purposes, all affected fire hydrants should be replaced in close proximity to the existing hydrant.
Note on A18: This is the estimated cost for each individual water service line and water meter that will need to be relocated as part of a project’s proposed work.
Note on A19: Bends and elbows are required at water line alignment changes.
Note on A20: Blow-off assemblies are used to “flush” dead-end water mains that are created as part of the relocation work. As their name suggests, these assemblies are only temporary.
Note on A21: This is the estimated cost for each individual tie-in to an existing water main.
Note on A22: This work covers dewatering an existing main and capping and covering its ends so it can be left in place.
Note on A23: Within the traveled way, vertical water valve adjustments are performed when pavement work is proposed around an existing water valve to ensure a smooth riding surface. Water valves may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.
Note on A29: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the water relocations.
Note on A30: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the water relocations.
Note on A31: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A32: Water valves are typically placed at junctions in water mains and along the main at a spacing in accordance with regulatory requirements. Water valves enable flow to be shut off or diverted so as to allow for future maintenance work. For purposes of this estimate, the distance between water valves should be assumed to be 800 ft.
Note on A33: Water lines are typically installed new as either ductile iron or PVC. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A34: Water lines are typically installed new as either ductile iron or PVC. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A35: Water lines are typically installed new as either ductile iron or PVC. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A36: Water lines are typically installed new as either ductile iron or PVC. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A37: Steel casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a steel casing should be prescribed on applications which cross roadways or railways. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A38: Steel casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a steel casing should be placed on applications which cross roadways or railways. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A39: Fusible PVC (FPVC) casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a FPVC casing should be placed on applications which cross roadways or railways. FPVC casings are installed by directional drilling. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A40: Fire hydrant placement is typically controlled by municipal and building codes. For estimate purposes, all affected fire hydrants should be replaced in close proximity to the existing hydrant.
Note on A41: This is the estimated cost for each individual water service line and water meter that will need to be relocated as part of a project’s proposed work.
Note on A42: Bends and elbows are required at water line alignment changes.
Note on A43: Blow-off assemblies are used to “flush” dead-end water mains that are created as part of the relocation work. As their name suggests, these assemblies are only temporary.
Note on A44: This is the estimated cost for each individual tie-in to an existing water main.
Note on A45: This work covers dewatering an existing main and capping and covering its ends so it can be left in place.
Note on A46: Within the traveled way, vertical water valve adjustments are performed when pavement work is proposed around an existing water valve to ensure a smooth riding surface. Water valves may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.

## Sewer Cost Est
Sewer Company Relocation Costs
Reimbursable Costs
| Enter Sewer Company 1 Name or "NA" |  |  |  | Enter Sewer Company 2 Name or "NA" |  |  |  | Enter Sewer Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install SS Main - Open Cut | LF |  | 160 | 0 | LF |  | 160 | 0 | LF |  | 160 | 0
Furnish & Install SS Main - Drilled | LF |  | 300 | 0 | LF |  | 300 | 0 | LF |  | 300 | 0
Furnish & Install Casing - Open Cut | LF |  | 265 | 0 | LF |  | 265 | 0 | LF |  | 265 | 0
Furnish & Install Casing - Drilled | LF |  | 525 | 0 | LF |  | 525 | 0 | LF |  | 525 | 0
Furnish & Install Manholes | EA |  | 9000 | 0 | EA |  | 9000 | 0 | EA |  | 9000 | 0
Furnish & Install Services/Cleanouts | EA |  | 5000 | 0 | EA |  | 5000 | 0 | EA |  | 5000 | 0
Vertical Manhole Adjustment | EA |  | 2000 | 0 | EA |  | 2000 | 0 | EA |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Non-Reimbursable Costs
| Enter Sewer Company 1 Name or "NA" |  |  |  | Enter Sewer Company 2 Name or "NA" |  |  |  | Enter Sewer Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install SS Main - Open Cut | LF |  | 160 | 0 | LF |  | 160 | 0 | LF |  | 160 | 0
Furnish & Install SS Main - Drilled | LF |  | 300 | 0 | LF |  | 300 | 0 | LF |  | 300 | 0
Furnish & Install Casing - Open Cut | LF |  | 265 | 0 | LF |  | 265 | 0 | LF |  | 265 | 0
Furnish & Install Casing - Drilled | LF |  | 525 | 0 | LF |  | 525 | 0 | LF |  | 525 | 0
Furnish & Install Manholes | EA |  | 9000 | 0 | EA |  | 9000 | 0 | EA |  | 9000 | 0
Furnish & Install Services/Cleanouts | EA |  | 5000 | 0 | EA |  | 5000 | 0 | EA |  | 5000 | 0
Vertical Manhole Adjustment | EA |  | 2000 | 0 | EA |  | 2000 | 0 | EA |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Note on A6: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the sewer relocations.
Note on A7: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the sewer relocations.
Note on A8: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A9: Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A10: Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A11: Casings are used to encapsulate and protect sewer lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a casing should be prescribed on applications which cross roadways or railways. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A12: Casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a casing should be placed on applications which cross roadways or railways. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A13: Utility manholes are installed to provide access to an underground utility and to satisfy routing needs. Different utilities have different manhole spacing requirements which depend on sewer diameter, location, and flow condition. For purposes of this estimate, the distance between manholes on gravity sewer lines should be assumed to be 400 ft.
Note on A14: This is the estimated cost for each individual service line to a property. Service lines are typically installed with a cleanout so that the line can be accessed in case of a backup.
Note on A15: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.
Note on A21: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the sewer relocations.
Note on A22: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the sewer relocations.
Note on A23: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A24: Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A25: Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A26: Casings are used to encapsulate and protect sewer lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a casing should be prescribed on applications which cross roadways or railways. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A27: Casings are used to encapsulate and protect water lines from damage and to protect the road box from damage in the event of a leak. For estimate purposes, a casing should be placed on applications which cross roadways or railways. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A28: Utility manholes are installed to provide access to an underground utility and to satisfy routing needs. Different utilities have different manhole spacing requirements which depend on sewer diameter, location, and flow condition. For purposes of this estimate, the distance between manholes on gravity sewer lines should be assumed to be 400 ft.
Note on A29: This is the estimated cost for each individual service line to a property. Service lines are typically installed with a cleanout so that the line can be accessed in case of a backup.
Note on A30: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.

## Gas Cost Est
Gas Company Relocation Costs
Reimbursable Costs
| Enter Gas Company 1 Name or "NA" |  |  |  | Enter Gas Company 2 Name or "NA" |  |  |  | Enter Gas Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Dist Gas Main - Open Cut | LF |  | 160 | 0 | LF |  | 160 | 0 | LF |  | 160 | 0
Furnish & Install Dist Gas Main - Drilled | LF |  | 300 | 0 | LF |  | 300 | 0 | LF |  | 300 | 0
Furnish & Install Trans Gas Main - Open Cut | LF |  | 315 | 0 | LF |  | 315 | 0 | LF |  | 315 | 0
Furnish & Install Trans Gas Main- Drilled | LF |  | 525 | 0 | LF |  | 525 | 0 | LF |  | 525 | 0
Vertical Manhole Adjustment | EA |  | 2000 | 0 | EA |  | 2000 | 0 | EA |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Non-Reimbursable Costs
| Enter Gas Company 1 Name or "NA" |  |  |  | Enter Gas Company 2 Name or "NA" |  |  |  | Enter Gas Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Furnish & Install Dist Gas Main - Open Cut | LF |  | 160 | 0 | LF |  | 160 | 0 | LF |  | 160 | 0
Furnish & Install Dist Gas Main - Drilled | LF |  | 300 | 0 | LF |  | 300 | 0 | LF |  | 300 | 0
Furnish & Install Trans Gas Main - Open Cut | LF |  | 315 | 0 | LF |  | 315 | 0 | LF |  | 315 | 0
Furnish & Install Trans Gas Main- Drilled | LF |  | 525 | 0 | LF |  | 525 | 0 | LF |  | 525 | 0
Vertical Manhole Adjustment | EA |  | 2000 | 0 | EA |  | 2000 | 0 | EA |  | 2000 | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Note on A6: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the gas relocations.
Note on A7: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the gas relocations.
Note on A8: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A9: Gas distribution lines are used to deliver gas from a transmission system to end-use customers. Unlike transmission systems, which carry large volumes of natural gas at high pressure, the distribution system operates at lower pressures and through smaller diameter pipes. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A10: Gas distribution lines are used to deliver gas from a transmission system to end-use customers. Unlike transmission systems which carry large volumes of natural gas at high pressure, the distribution system operates at lower pressures and through smaller diameter pipes. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A11: Gas transmission lines are used to transport natural gas over long distances. These lines are high-pressure and are larger in diameter than distribution lines. Open cutting is used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A12: Gas transmission lines are used to transport natural gas over long distances. These lines are high-pressure and are larger in diameter than distribution lines. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A13: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.
Note on A19: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the gas relocations.
Note on A20: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the gas relocations.
Note on A21: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A22: Gas distribution lines are used to deliver gas from a transmission system to end-use customers. Unlike transmission systems, which carry large volumes of natural gas at high pressure, the distribution system operates at lower pressures and through smaller diameter pipes. Open cutting is only used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A23: Gas distribution lines are used to deliver gas from a transmission system to end-use customers. Unlike transmission systems which carry large volumes of natural gas at high pressure, the distribution system operates at lower pressures and through smaller diameter pipes. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A24: Gas transmission lines are used to transport natural gas over long distances. These lines are high-pressure and are larger in diameter than distribution lines. Open cutting is used in locations where the installation area is physically accessible and allowed per utility regulation.
Note on A25: Gas transmission lines are used to transport natural gas over long distances. These lines are high-pressure and are larger in diameter than distribution lines. Directional drilling is used when the installation area is otherwise inaccessible due to surface condition (i.e. pavement, water body etc.)
Note on A26: Within the traveled way, vertical manhole adjustments are performed when pavement work is proposed around an existing manhole to ensure a smooth riding surface. Manholes may also be adjusted outside of the traveled way when grade changes are anticipated as part of a project.

## Misc Cost Est
Miscellaneous Relocation Costs
Reimbursable Costs
| Enter Misc. Company 1 Name or "NA" |  |  |  | Enter Misc. Company 2 Name or "NA" |  |  |  | Enter Misc. Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Facilities, Misc Line 1 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Misc Line 2 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Misc Line 3 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Misc Line 4 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Other 1 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Facilities, Other 2 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Facilities, Other 3 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Facilities, Other 4 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Non-Reimbursable Costs
| Enter Misc. Company 1 Name or "NA" |  |  |  | Enter Misc. Company 2 Name or "NA" |  |  |  | Enter Misc. Company 3 Name or "NA"
Work Item | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Units | Quantity | Unit Cost | Subtotal | Originator Notes (These Notes Do Not Print)
Prel Eng. - Design Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
Labor/Equip - Construction Cost | LS | 1 |  | 0 | LS | 1 |  | 0 | LS | 1 |  | 0
MOT | DAY |  | 1800 | 0 | DAY |  | 1800 | 0 | DAY |  | 1800 | 0
Facilities, Misc Line 1 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Misc Line 2 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Misc Line 3 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Misc Line 4 | LF |  |  | 0 | LF |  |  | 0 | LF |  |  | 0
Facilities, Other 1 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Facilities, Other 2 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Facilities, Other 3 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Facilities, Other 4 | EA |  |  | 0 | EA |  |  | 0 | EA |  |  | 0
Total |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Note on A6: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the misc. relocations.
Note on A7: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the misc. relocations.
Note on A8: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A9: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A10: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A11: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A12: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A13: Add a description to this cell for any miscellaneous utility relocation work required.
Note on A14: Add a description to this cell for any miscellaneous utility relocation work required.
Note on A15: Add a description to this cell for any miscellaneous utility relocation work required.
Note on A16: Add a description to this cell for any miscellaneous utility relocation work required.
Note on A22: This is the estimated cost for the utility to perform their relocation design. This cost can vary substantially based on complexity of the design and site-specific factors. Accordingly, this cost should be either provided by or verified by the DelDOT Utility section based on their past experience. This expense can be assumed to be about 15% of the itemized construction cost of the misc. relocations.
Note on A23: This is the estimated lump sum cost for the utility to mobilize. This expense can be assumed to be about 5% of the itemized construction cost of the misc. relocations.
Note on A24: This is the cost to allow traffic movement around the relocation work. This cost is estimated by the amount of days the work will take place.
Note on A25: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A26: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A27: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A28: Add a description to this cell for any miscellaneous utility line relocation work required.
Note on A29: Add a description to this cell for any miscellaneous utility relocation work required.
Note on A30: Add a description to this cell for any miscellaneous utility relocation work required.
Note on A31: Add a description to this cell for any miscellaneous utility relocation work required.
Note on A32: Add a description to this cell for any miscellaneous utility relocation work required.

## Summary
Cost Estimate Summary
Project Number:
Utility Coordinator:
Date Completed:
Estimate Prepared by:
Design Contact:
Cost Summary
Utility Owner |  | Reimbursable | Non-Reimbursable | Estimator Notes
Enter Power Company 1 Name or "NA" |  | 0 | 0
Enter Power Company 2 Name or "NA" |  | 0 | 0
Enter Power Company 3 Name or "NA" |  | 0 | 0
Enter Communication Company 1 Name or "NA" |  | 0 | 0
Enter Communication Company 2 Name or "NA" |  | 0 | 0
Enter Communication Company 3 Name or "NA" |  | 0 | 0
Enter Water Company 1 Name or "NA" |  | 0 | 0
Enter Water Company 2 Name or "NA" |  | 0 | 0
Enter Water Company 3 Name or "NA" |  | 0 | 0
Enter Sewer Company 1 Name or "NA" |  | 0 | 0
Enter Sewer Company 2 Name or "NA" |  | 0 | 0
Enter Sewer Company 3 Name or "NA" |  | 0 | 0
Enter Gas Company 1 Name or "NA" |  | 0 | 0
Enter Gas Company 2 Name or "NA" |  | 0 | 0
Enter Gas Company 3 Name or "NA" |  | 0 | 0
Enter Misc. Company 1 Name or "NA" |  | 0 | 0
Enter Misc. Company 2 Name or "NA" |  | 0 | 0
Enter Misc. Company 3 Name or "NA" |  | 0 | 0
Total |  | 0 | 0
DelDOT Responsibility (calculated as a percentage) | 80% | 0
Other Sponsor Responsibility (as a percentage) | 20% | 0